|  |  |  |  |
| --- | --- | --- | --- |
| St. # | Description | Owner(s) | Short parcel # |
| 312 | Closed business, board on front door. Resident upstairs, paint good, ripped screen 2nd floor. | Warren and Ruth E. Trager | 53385000020 and 533852000021 |
| 314 | Doorway A&A Graphics - Exposed wires under sign, peeling paint around doorway. | This seems to be part of 312 |  |
| 316 | Miracle Temple Five-fold Ministries - No outside light, exposed wire, peeling paint | Warren and Ruth E. Trager | 533851000030 |
| 318 | For rent. No exterior lighting, plywood on inside of one window. | This seems to be part of 316 |  |
| 319 | Peeling paint, rotted wood. Side of building needs extensive repair. | Warren Trager | 533902530014 and 533902530015 |
| 320 | Nature’s Essence Gift Shop - Exposed rebar. | As does this |  |
| 322 | Broken glass in front door, fluorescent fixture rusting w/ no cover, rotted wood in front of plate glass window. Lights in ceiling with no cover. Rotted front door. Windows blocked by shelving. | Warren and Elsie R Trager | 533851000060 |
| 323 | Dirty; no signage. | Warren and Ruth E. Trager |  |
| 327 | Second story windows stuccoed. Hanging wires on boards. Front door boarded up. | Apparently part of the parcel above or below. |  |
| 331 | Boarded up. Rusty lights with no bulbs, peeling paint. According to a neighbor, NO ROOF. | Warren and Ruth E. Trager | 533902530016 |
| 340-344 | Kressman’s – Board in window at 340 blocking whole window. Rusty outdoor lighting without covers. Faux brick façade has pieces missing. | Warren and Elsie R Trager | 340 = 533852000190344 – 348, below |
| 348 | No issues. | Warren and Elsie R.Trager | 533852000179 |
| ?? | Vacant lot next to 348 – holes in concrete; uneven, tripping hazard. | Warren Trager | 533851000070 |
| 354 | Miami Nails – Rotted wood all around doors and windows, peeling paint, no exterior light, exposed wires, holes in plaster. West side looking into upstairs windows, ceiling plaster fallen. Back side of building needs a lot of work. | Warren and Ruth E. Trager | 533852000160 |